## Water Submittal
Submitted By:
Column1 | Column2 | Column3 | RS | 4" | 6" | 8" | 10" | 12" | Add" | Review Date
Adhesive | Adhesive
Air_Vacuum_or_Release | Air_Vacuum_or_Release
Bolts_and_Nuts | ANSI/AWWA C111/A21.11
Chlorine_Tablets | Chlorine_Tablets
Corp_Stop | Corp_Stop
Curb_Stop | Curb_Stop
Curb_Stop_Box | Curb_Stop_Box
Epoxy_Fittings | AWWA C116/A21.16-09, AWWA C153, AWWA C110
Fire_Hydrants | AWWA C-502, >200 psi
Meter_Pit | Meter Pit 0.75" - 1"
Meter_Pit | Meter Pit 1.5" - 2"
Meter_Vault | Meter_Vault
Poly_Wrap | Poly_Wrap
Restraint | Coupling_Class_250_DIP_Restraint
Restraint | Coupling_Class_C900_PVC_Restraint
Saddles | DIP_Service_Saddles
Saddles | PVC_Service_Saddles
Tape | Tape
Test_Station | Test_Station
Tracer_Wire | Tracer_Wire
Tracer_Wire_Connectors | Tracer_Wire_Connectors
Unions | Unions
Valve_Box | Valve_Box
Valve_Box_Adaptor | Valve_Box_Adaptor
Valves | >16" Butterfly Valve Class 150
Valves | <16" Gate Valve AWWA C-509
Water_Bedding_Material | Water_Bedding_Material
Water_Casing | Water_Casing
Water_Casing_Restraints | Water_Casing_Restraints
Water_Casing_Spacers | Water_Casing_Spacers
Water_End_Seals | Water_End_Seals
Water_Pipe_Material | DIP- AWWA-C-151, Class 52 or Greater
Water_Pipe_Material | PVC_AWWA_C900 DR-14
Water_Service_Line | Water_Service_Line
Water_Service_Line_Insert | Water_Service_Line_Insert
Miscellaneous
Miscellaneous
Miscellaneous
Miscellaneous
Miscellaneous
Miscellaneous
Miscellaneous
Miscellaneous
Miscellaneous
Miscellaneous
***This document was made available by the Cheyenne Board Of Public Utilities (BOPU) on 7/18/2023 and is subject to change. | [9 empty] | 2025-02-18
BOPU reserves the right to accept or reject any product proposed for use in Cheyenne’s water and sewer systems.

## Sewer Submittal
0 |  |  | Submitted By: | 0
Column1 | Column2 | Column3 | RS | 4" | 6" | 8" | 10" | 12" | Add" | Review Date
ASTM_C1260_Test | ASTM_C1260_Test
Epoxy_Coating_For_Inverts | Epoxy_Coating_For_Inverts
Manhole | Manholes
Manhole | Manhole_Coating
Manhole | Manhole_Joint_Seal
Manhole | Manhole_Ring_and_Lid
Manhole | Pipe_Seal
Manhole | Cutsheet
Sewer_Bedding_Material | Sewer_Bedding_Material
Sewer_Casing | Sewer_Casing_Pipe
Sewer_Casing | Sewer_Casing_Spacers
Sewer_Couplings | Sewer_Couplings
Sewer_End_Seals | Sewer_End_Seals
Sewer_Fittings | Gasketed
Sewer_Fittings | Glued
Sewer_Fittings | Saddle_WYEs
Sewer_Fittings | WYEs
Sewer_Fittings | Other
Sewer_Joint_Restraint | Sewer_Joint_Restraint
Sewer_Pipe_Material | ≤15" ASTM D3034 SDR35/PS46 PVC
Sewer_Pipe_Material | >15" ASTM F679 PS46 PVC
Miscellaneous
Miscellaneous
Miscellaneous
Miscellaneous
Miscellaneous
Miscellaneous
Miscellaneous
Miscellaneous
Miscellaneous
***This document was made available by the Cheyenne Board Of Public Utilities (BOPU) on 7/18/2023 and is subject to change. | [9 empty] | 2025-02-18
BOPU reserves the right to accept or reject any product proposed for use in Cheyenne’s water and sewer systems.

## WaterDropDowns
Water Drop Downs
Column 1 Dropdown | ... Column 2 Dropdowns ... |  |  | ... Column 2 Dropdowns ... |  |  | ... Column 2 Dropdowns ... |  | Column 2 to Column 3 |  |  |  | ... Column 3 Dropdowns ... |  |  | ... Column 3 Dropdowns ... |  |  | ... Column 3 Dropdowns ... |  |  | ... Column 3 Dropdowns ... |  |  | ... Column 3 Dropdowns ... |  | ... Column 3 Dropdowns ... |  | ... Column 3 Dropdowns ... |  | ... Column 3 Dropdowns ... |  |  | ... Column 3 Dropdowns ... |  |  | ... Column 3 Dropdowns ... |  |  | ... Column 3 Dropdowns ... |  |  | ... Column 3 Dropdowns ... |  |  | ... Column 3 Dropdowns ...
Water_Items | Bolts_and_Nuts | Epoxy_Fittings | Fire_Hydrants | Meter_Pit | Restraint | Saddles | Valves | Water_Pipe_Material | Text | Named Range | Adhesive | Air_Vacuum_or_Release | ANSI_AWWA_C111_A21_11 | Butterfly_Valve | Chlorine_Tablets | Corp_Stop | Coupling_Class_250_DIP_Restraint | Coupling_Class_C900_PVC_Restraint | Curb_Stop | Curb_Stop_Box | DIP_Pipe | DIP_Service_Saddles | Epoxy_Fitting_Manufacturers | Gate_Valve | Hydrant_Manufacturer | Meter Pit 0.75" - 1" | Meter Pit 1.5" - 2" | Meter_Vault | Poly_Wrap | PVC_AWWA_C900 | PVC_Service_Saddles | Split_Ring_MegaLug | Tape | Test_Station | Tracer_Wire | Tracer_Wire_Connectors | Unions | Valve_Box | Valve_Box_Adaptor | Water_Bedding_Material | Water_Casing | Water_Casing_Restraints | Water_Casing_Spacers | Water_End_Seals | Water_Service_Line | Water_Service_Line_Insert
Adhesive | ANSI/AWWA C111/A21.11 | AWWA C116/A21.16-09, AWWA C153, AWWA C110 | AWWA C-502, >200 psi | Meter Pit 0.75" - 1" | Coupling_Class_250_DIP_Restraint | DIP_Service_Saddles | >16" Butterfly Valve Class 150 | DIP- AWWA-C-151, Class 52 or Greater | <16" Gate Valve AWWA C-509 | Gate_Valve | Dow Corning 748 | Valvematic | PROSELECT Gland packets | Open Right | 5-8 gram tablets 65% Calcium Hypoclorite | AY McDonald 74701BQ | Restraint Fitting | Restraint Fitting | AY McDonald 76100T | AY McDonald 5601 - 5' to 6' | American | Mueller DR2A | MJ "Foster" Adapter | Open Right | Open Right/Clockwise | Ford PFCB-388-18-60-FP-NL (Coil Pit Setter) | Ford PSBB-688-36HB-60-SB4-NL | Aluminum Lid | VB3 Enhanced Polywrap Pipe Sleeves | Certain-Teed Corp. | Ford FCD202 | EBAA Iron 1100SD Series | 2" ≥7 mil Plastic Vinyl Tape | CP Monitoring | #10 THHN-Solid Copper-Blue Plastic Coated | 3M DBR/Y-6 Direct Bury | A.Y. McDonald | Screw Type | Adaptor Inc. | Carr Pit Pea Gravel | C-900 DR25 (PVC <12") | EBAA | APS Stainless Steel | APS Model AW |  | 3/4"
Air_Vacuum_or_Release | Insert cell above to add items | Insert cell above to add items | Insert cell above to add items | Meter Pit 1.5" - 2" | Coupling_Class_C900_PVC_Restraint | PVC_Service_Saddles | <16" Gate Valve AWWA C-509 | PVC_AWWA_C900 DR-14 | >16" Butterfly Valve Class 150 | Butterfly_Valve | Insert cell above to add items | Insert cell above to add items | Sigma Glad Pack | Stainless Steel Nuts and Bolts | … | AY McDonald 74701BG | EBAA Mega-Lug 1100 (<12") | EBAA MegaFlange 2100 | AY McDonald 76100G | AY McDonald 5603 - 5' to 6' | Griffin Pipe | Mueller DR2S | … | Stainless Steel Nuts and Bolts | Stainless Steel Nuts and Bolts | Ford PFCB-488-18-60-FP-NL (Coil Pit Setter) | Ford PSBB-788-36HB-60-SB4-NL | Cast Iron Lid | V-BIO Enhanced Polywrap | Diamond Plastics Corp. | JCM 406 | Insert cell above to add items | … | Handley Industries, Inc. | … | King Innovations - DRYCONN waterproof | Ford Meter Box | Slip Type | VB Adaptor II | Grantie Pit Pea Gravel | C-900 DR41 (PVC >12") | Cascade Waterworks Mfg. | Cascade Waterworks Mfg. | Cascade Waterworks Mfg. | Poly, SDR 9 | 1"
Bolts_and_Nuts |  |  |  | Insert cell above to add items | Split Ring Mega-Lug_Restraint_Fitting | Insert cell above to add items | Insert cell above to add items | Insert cell above to add items | Adhesive | Adhesive |  |  | SIP Industries | … | Arch Chemicals | AY McDonald 74701BT | EBAA Mega-Lug 1100 SD (<12") | EBAA Mega-Lug 2000PV (<12") | AY McDonald 76100Q | Insert cell above to add items | McWane | Romac 202NS | Star Pipe Products | … | 1.5" Pentagon Nut | Mueller/Hunt 250CS-1860-FABSN (Thermal-Coil Meter Box) | Mueller/Hunt 500VB-3660-FFBN | Conseal | … | J-M Eagle | Mueller DR2S |  | Christy's | Mini-Glen 4 | Copperhead #1230-B-HS-500 | SnakeBite Locking LSC1230C | Mueller H15403N | … | Insert cell above to add items | Knife River Pea Gravel | Steel (≥0.375" Thick Standard Spec) | NAPCO Certa-Lok | CCI Pipeline Systems | CCI Pipeing Systems | … | 1.25"
Chlorine_Tablets |  |  |  |  | Insert cell above to add items |  |  |  | Air_Vacuum_or_Release | Air_Vacuum_or_Release |  |  | Star | AVK | Axiall | AY McDonald 74701BDBQ (Dielectric) | Bell Restraint EEBA 1700 | EBAA Mega-Lug 2000SV (<12") | Cambridge Brass 202NL |  | Tyler | Smith-Blair 313 | Sigma Corporation | American Flow Control AFC-2500 | Storz Nozzle | Mueller/Hunt 330CS-1860-FABSN (Thermal-Coil Meter Box) | Mueller/Hunt 550VB-3660-FFBN | … | AA Thread Seal Tape, Inc. | NAPCO Pipe & Fittings | Romac SSTIII |  | Northtown | Snake Pit | Copperhead #1230-B-HS-1000 | SnakeBite Mainline 3WB-01 | Mueller Inc. | Castings Inc. |  | Lumis Pit | Steel (≥0.442" Thick Railroad Spec) | Sigma Bell Restraints | Power Seal Pipeline Products | Power Seal Pipeline Products | 0.75" | 1.5"
Corp_Stop | [8 empty] | ANSI/AWWA C111/A21.11 | ANSI_AWWA_C111_A21_11 |  |  | Tyler Union | Clow | Harcros Chemicals | AY McDonald 74701BDBG (Dielectric) | Star Grip Mega-lug 3000 | Ford Uni-Flange Series 1500 | Ford B44-xxx-Q-NL |  | US Pipe | Insert cell above to add items | Tyler Union | AVK Series 65 | … | … Lid … | … Lid & Frame … | Colorado Precast Inc. | US Pipe | North American Pipe | Smith-Blair 317 |  | ProFlo | Insert cell above to add items | Copperhead #1230-B-HS-2500 | SnakeBite Pipe Burst 3-Way SC-3WPB | … | D&L Products |  | Simon Pit Pea Gravel | Insert cell above to add items | Star Pipe Products | Insert cell above to add items | Insert cell above to add items | 1" | 2"
Curb_Stop | [8 empty] | AWWA C116/A21.16-09, AWWA C153, AWWA C110 | Epoxy_Fitting_Manufacturers |  |  | Insert cell above to add items | M&H | PPG Industries | AY McDonald 74701BDBT (Dielectric) | Tyler Union Tuff Grip TLD series | Sigma PV-LOK | Mueller B25209N |  | Insert cell above to add items |  | NAPCO Pipe & Fittings | Clow 2600 Series | American AVK2780 | Ford A32-C-REC463-LB-T | Ford MC-36-REC-T | Copeland Precast Inc. | American | Northern Pipe Products Inc. | Insert cell above to add items |  | PROSELECT |  | … | SnakeBite Pipe Burst In-Line SC-PB-01 | 0.75" | Sigma |  | Star Pit Pea Gravel |  | Tyler |  |  | 1.25" | …
Curb_Stop_Box | [8 empty] | AWWA C-502, >200 psi | Hydrant_Manufacturer |  |  |  | Mueller | Insert cell above to add items | Cambridge Brass 301NL | … | Sigma ONE-LOK | … |  |  |  | Insert cell above to add items | M&H | Clow Medallion | Mueller 780113 (Non Traffic Rated) | Mueller 700098 | Forterra | McWane | P.W. Eagle Inc. |  |  | Insert cell above to add items |  | Copperhead #1245-B-EHS-500 | SnakeBite SCB-01SR | 1" | Star Pipe Products |  | Martin Marietta |  | Insert cell above to add items |  |  | 1.5" | A.Y.McDonald
Epoxy_Fittings | [8 empty] | Chlorine_Tablets | Chlorine_Tablets |  |  |  | Pratt |  | Ford FB-1000Q | Bell Restraint | Star Grip Mega-lug 4000 | 0.75" |  |  |  |  | Mueller 2300 Series | Mueller Super Centurion 250 | … Frame … | Mueller 780113 | Oldcastle Infrastructures | Insert cell above to add items | Scepter Manufacturing Comp. |  |  |  |  | Copperhead #1245-B-EHS-1000 | SnakeBite Twist-On SCB-01 | 1.25" | Tyler Union |  | Insert cell above to add items |  |  |  |  | 2" | Ford
Fire_Hydrants | [8 empty] | Corp_Stop | Corp_Stop |  |  |  | Insert cell above to add items |  | Ford SI-FB-1000-AWT-Q (Dielectric) | Split Ring EBAA 1100 Series | Star Pipe Restrtaint Series 1100G2 | 1" |  |  |  |  | US Pipe Metroseal 250 | Insert cell above to add items | Ford EXT-3 | Mueller 790438 | Vaughn Concrete Products |  | Vinyl Tech |  |  |  |  | Copperhead #1245-B-EHS-2500 | Insert cell above to add items | 1.5" | Insert cell above to add items | [6 empty] | … | Mueller
Meter_Pit | [8 empty] | Coupling_Class_250_DIP_Restraint | Coupling_Class_250_DIP_Restraint | [5 empty] | Mueller B-25008N | Split Ring Star 1100G2C Series | Tuff Grip Series TLP | 1.25" |  |  |  |  | Insert cell above to add items |  | Mueller 700098 | Insert cell above to add items | Insert cell above to add items |  | Westlake Pipe & Fittings |  |  |  |  | … |  | 2" | [7 empty] | ADS Inc. | Proselect
Meter_Vault | [8 empty] | Coupling_Class_C900_PVC_Restraint | Coupling_Class_C900_PVC_Restraint | [5 empty] | Mueller N-35028 (Dielectric) | Bell Restraint EEBA 1700 | RieberLok Gasket | 1.5" | [6 empty] | Insert cell above to add items |  |  |  | … |  |  |  |  | Copperhead SoloShot Burst |  | Insert cell above to add items | [7 empty] | Cambridge-lee Industries, LLC | Insert cell above to add items
Poly_Wrap | [8 empty] | Curb_Stop | Curb_Stop | [5 empty] | Mueller B20045N | Split Ring Sigma One-Lok SLDEH Series | … | 2" | [10 empty] | Lock Joint |  |  |  |  | Insert cell above to add items | [9 empty] | Centennial Plastics Inc.
Restraint | [8 empty] | Curb_Stop_Box | Curb_Stop_Box | [5 empty] | … | Insert cell above to add items | Bell Restraint | Insert cell above to add items | [10 empty] | Fusible | [14 empty] | CERRO Flow Products Inc.
Saddles | [8 empty] | DIP- AWWA-C-151, Class 52 or Greater | DIP_Pipe | [5 empty] | 0.75" |  | Split Ring EBAA 1900 Series | [11 empty] | Insert cell above to add items | [14 empty] | Crestline
Tape | [8 empty] | DIP_Service_Saddles | DIP_Service_Saddles | [5 empty] | 1" |  | Split Ring Ford Uni-Flange Series 1355 | [26 empty] | Mueller Streamline Co.
Test_Station | [8 empty] | Meter Pit 0.75" - 1" | MeterPit_0.75_1 | [5 empty] | 1.25" |  | Split Ring Star 1100G2 Series | [26 empty] | PolyethyleneTech
Tracer_Wire | [8 empty] | Meter Pit 1.5" - 2" | MeterPit_1.5_2 | [5 empty] | 1.5" |  | Split Ring Sigma One-Lok SLCEH Series | [26 empty] | Insert cell above to add items
Tracer_Wire_Connectors | [8 empty] | Meter_Vault | Meter_Vault | [5 empty] | 2" |  | Split Ring Sigma PV-LOK Model PWP
Unions | [8 empty] | Poly_Wrap | Poly_Wrap | [5 empty] | Insert cell above to add items |  | Insert cell above to add items
Valve_Box | [8 empty] | PVC_AWWA_C900 DR-14 | PVC_AWWA_C900
Valve_Box_Adaptor | [8 empty] | PVC_Service_Saddles | PVC_Service_Saddles
Valves | [8 empty] | Water_Casing_Restraints | Water_Casing_Restraints
Water_Bedding_Material | [8 empty] | Split Ring Mega-Lug_Restraint_Fitting | Split_Ring_MegaLug
Water_Casing | [8 empty] | Tape | Tape
Water_Casing_Restraints | [8 empty] | Test_Station | Test_Station
Water_Casing_Spacers | [8 empty] | Tracer_Wire | Tracer_Wire
Water_End_Seals | [8 empty] | Tracer_Wire_Connectors | Tracer_Wire_Connectors
Water_Pipe_Material | [8 empty] | Unions | Unions
Water_Service_Line | [8 empty] | Valve_Box | Valve_Box
Water_Service_Line_Insert | [8 empty] | Valve_Box_Adaptor | Valve_Box_Adaptor
Insert cell above to add items | [8 empty] | Water_Bedding_Material | Water_Bedding_Material
[9 empty] | Water_Casing | Water_Casing
[9 empty] | Water_Casing_Spacers | Water_Casing_Spacers
[9 empty] | Water_End_Seals | Water_End_Seals
[9 empty] | Water_Service_Line | Water_Service_Line
[9 empty] | Water_Service_Line_Insert | Water_Service_Line_Insert
[9 empty] | Insert cell above to add items | Insert cell above to add items

## SewerDropDowns
Sewer Drop Downs
Column 1 Dropdown | ... Column 2 Dropdowns ... |  |  |  | Column 2 to Column 3 |  |  |  | ... Column 3 Dropdowns ... |  |  |  | ... Column 3 Dropdowns ... |  | ... Column 3 Dropdowns ... |  |  | ... Column 3 Dropdowns ... |  |  |  | ... Column 3 Dropdowns ...
Sewer_Items | Manhole | Sewer_Casing | Sewer_Fittings | Sewer_Pipe_Material | Text | Named Range | Sewer_Bedding_Material | Epoxy_Coating_For_Inverts | Manholes | Manhole_Coating | Manhole_Joint_Seal | Manhole_Ring_and_Lid | Pipe_Seal | Saddle_WYEs | Sewer_Casing_Pipe | Sewer_Casing_Spacers | Sewer_Couplings | Sewer_End_Seals | Sewer_Fitting | Sewer_Fitting_Other | Sewer_Joint_Restraint | Sewer_Pipe_Manufacturer
ASTM_C1260_Test | A-Lok | Sewer_Casing_Pipe | Gasketed | ≤15" ASTM D3034 SDR35/PS46 PVC | >15" ASTM F679 PS46 PVC | Sewer_Pipe_Manufacturer | Carr Pit Pea Gravel | Carboguard 60 | Asphalt Coating | Asphalt (ASTM D449) | Conseal | East Jordan | ALok | ADS Inserta Tee Lateral Connection | C-900 DR25 (PVC <12") | Cascade Inc. | Non Shear (SDR 35) | Cascade Inc. | GPK Products, Inc. | Glued to Threaded | Uni-Flange Restraint (UFR1390-P-x-I style) | Certain-Teed Corp.
Epoxy_Coating_For_Inverts | Manholes | Sewer_Casing_Spacers | Glued | >15" ASTM F679 PS46 PVC | ≤15" ASTM D3034 SDR35/PS46 PVC | Sewer_Pipe_Manufacturer | Grantie Pit Pea Gravel | Chem-Channel Epoxy | … | Insert cell above to add items | Ram-Nek (double row) | D&L Foundry & Supply | InsertaTEE | General Engineering Saddle Wye | C-900 DR41 (PVC >12") | CCI Pipeline Systems | … | CCI Pipeing Systems | Royal Building Products | … | Insert cell above to add items | Diamond Plastics Corp.
Manhole | Manhole_Coating | Insert cell above to add items | Saddle_WYEs | Insert cell above to add items | ASTM_C1260_Test | Manholes | Knife River Pea Gravel | Sherwin Williams - Macropoxy 646 | Forterra Precast |  | Tylar Tss Series Super Seal | Insert cell above to add items | Kor-N-Seal ASTM C923 | Robar Industries | Steel | Diamond Plastics Corp. | Fernco 5000 | Diamond Plastics Corp. | Tough Trench Multi Fittings | GPK Products, Inc. |  | J-M Eagle
Sewer_Bedding_Material | Manhole_Joint_Seal |  | WYEs |  | Cutsheet | Manholes | Lumis Pit | SIKA Guard -62 | Copeland Precast Inc. |  | Insert cell above to add items |  | Press-Seal Nylo Drive | Romac CB Saddle Tee | Insert cell above to add items | JM Eagle | GPK Products, Inc. | JM Eagle | Charlotte | Royal Building Products |  | NAPCO Pipe & Fittings
Sewer_Casing | Manhole_Ring_and_Lid |  | Other |  | Epoxy_Coating_For_Inverts | Epoxy_Coating_For_Inverts | Simon Pit Pea Gravel | Insert cell above to add items | Oldcastle Infrastructure |  |  |  | PSX Direct Drive | Insert cell above to add items |  | North American Pipe Company | Mission Flex-Seal ARC (<12" only) | North American Pipe Company | Insert cell above to add items | Tough Trench Multi Fittings |  | North American Pipe
Sewer_Couplings | Manhole_Seal |  | Insert cell above to add items |  | Gasketed | Sewer_Fitting | Star Pit Pea Gravel |  | Panhandle Concrete Products |  |  |  | PSX Positive Seal |  |  | Power Seal | Insert cell above to add items | Power Seal |  | Charlotte |  | Northern Pipe Products Inc.
Sewer_End_Seals | Pipe_Seal |  |  |  | Glued | Sewer_Fitting | Martin Marietta |  | Rinker |  |  |  | Insert cell above to add items |  |  | Insert cell above to add items |  | Insert cell above to add items |  | Insert cell above to add items |  | P.W. Eagle Inc.
Sewer_Fittings | Cutsheet |  |  |  | Manhole_Coating | Manhole_Coating | Insert cell above to add items |  | Vaughn Concrete Products | [12 empty] | Scepter Manufacturing Comp.
Sewer_Joint_Restraint | Insert cell above to add items |  |  |  | Manhole_Joint_Seal | Manhole_Joint_Seal |  |  | Insert cell above to add items | [12 empty] | Vinyl Tech
Sewer_Pipe_Material |  |  |  |  | Manhole_Ring_and_Lid | Manhole_Ring_and_Lid | [15 empty] | Westlake Pipe & Fittings
Insert cell above to add items |  |  |  |  | Manholes | Manholes | [15 empty] | …
[5 empty] | Other | Sewer_Fitting_Other | [15 empty] | Lock Joint
[5 empty] | Pipe_Seal | Pipe_Seal | [15 empty] | Fusible
[5 empty] | Saddle_WYEs | Saddle_WYEs | [15 empty] | Insert cell above to add items
[5 empty] | Sewer_Bedding_Material | Sewer_Bedding_Material
[5 empty] | Sewer_Casing_Pipe | Sewer_Casing_Pipe
[5 empty] | Sewer_Casing_Spacers | Sewer_Casing_Spacers
[5 empty] | Sewer_Couplings | Sewer_Couplings
[5 empty] | Sewer_End_Seals | Sewer_End_Seals
[5 empty] | Sewer_Fittings | Sewer_Fittings
[5 empty] | Sewer_Joint_Restraint | Sewer_Joint_Restraint
[5 empty] | WYEs | Sewer_Fitting
[5 empty] | Insert cell above to add items | Insert cell above to add items